## Products
Material Number | Product Master | Name | Product Code (Type) | Product Code (Value) | Labels | Product Template
5050649ECHELONMV |  | Echelon | GMN | 5050649ECHELONMV |  | EUDAMED Basic UDI-DI
EVAC22L1S | 5050649ECHELONMV | ECH VAC 22L CAT1-EXT. FOOT PROSTHESIS | GTIN14 | 05050649062025 |  | EUDAMED UDI-DI

## MDR-Basic
Material Number | Authority Configuration | Risk Class | Model Type | Model Name | Model | Basic-Cert-Links | Animal Tissues Cells | Authorised Representative Actor Code | Human Tissues Cells | Manufacturer Code | Basic-Comments | Basic-Clinical-Investigations | Basic-Device-Cert-Links | Human Product | Risk Class II B Implantable | Medicinal Product | Special Device | Type | Active | Administers or/and Removes Medicine | Implantable | Measuring Function | Reusable
5050649ECHELONMV |  | CLASS_I | Model | Echelon | tracekey Instruments Ir |  | false | DE-AR-000006292 | false | UK-MF-000048777 |  |  |  | false | false | false |  | DEVICE | false | false | false | false | true
Note on C1: #FLD-UDID-16# - Risk Class. Risk Class of the Device associated with the Basic UDI-DI. Device Risk Class is dependent directly on the Applicable Legislation of the Device.
Note on D1: It must be provided in case the information about the Device/ System or Procedure Pack Name is available (applicable) or when both the Device/ System or Procedure Pack Model and Name are available (applicable)
Note on E1: #FLD-UDID-22# - Device Name. Information allowing the identification of the device - Device Name. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI.
Note on F1: #FLD-UDID-20# - Device Model. Information allowing the identification of the device - Device Model. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. It must be provided in case the information about both the Device/ System or Procedure Pack Model and Name are available (applicable).
Note on G1: Element will contain the details of the actual Certificates linked with the Device in EUDAMED.
Note on H1: #FLD-UDID-18# - Tissues and cells - Presence of animal tissues or Cells, or their derivates. Property defines if the Device has presence of animal tissues or cells or their derivates.
Note on I1: #FLD-UDID-15# - Authorised Representative. The SRN of the Authorised Representative associated with the Basic UDI-DI. For Manufacturers which are not established in the Union (NonEU Manufacturers) providing the Authorised Representative for the Basic UDI-DI is required.
Note on J1: #FLD-UDID-23# - Tissues and cells - presence of human tissues or cells, or their derivates. Property defines if the Device has presence of human tissues or cells or their derivates.
Note on K1: #FLD-UDID-10# - Manufacturer SRN. SRN of the Manufacturer that registers the Device.
Note on L1: #FLD-UDID-41# - Comment. Comments made by the Authorised Representative related to the Device.
Note on N1: Element will contain the information provided by the Manufacturer regarding the identification details for the Certificates covering the Device. For Regulation Devices - Device Certificate Information is required to be provided for Devices requiring Notified Body validation ** (BR-UDID-109 , BR-UDID-110) For Legacy Devices - Providing the Certificate Information for Devices having Applicable Legislation MDD (MDD, Risk Class I and measuring function= false) or IVDD (IVD General) is optional
Note on O1: #FLD-UDID-155# - Presence of a substance which , if used separately, may be considered to be a medicinal product derived from human blood or plasma. Defines if the Device containes substances which may be considered medicinal product derived from human blood or plasma.
Note on P1: #FLD-UDID-265# - Property defines if the registered Device is sutures, staples, dental fillings, dental braces, tooth crowns, screws, wedges, plates wires, pins, clips and connectors. Property is applicable only for Devices having Risk Class II b and having the property implantable marked.
Note on Q1: #FLD-UDID-158# - Presence of substance which, if used separately, may be considered to be a medicinal product. Defines if the Device containes substances which may be considered medicinal product.
Note on R1: #FLD-UDID-13# - Special Device Type. Property defines if the Device is a Special Device Type anf if so , the type of Special device Type. In case the Device is a Standard Device having the option System or Procedure Pack (which is a Device in itself) or a System or Procedure Pack - field is not supplied.
Note on T1: #FLD-UDID-28# - Active Device. Property defines if the Basic UDI-DI corresponds to an Active device or not. Active device means any device, the operation of which depends on a source of energy other than that generated by the human body for that purpose, or by gravity, and which acts by changing the density of or converting that energy. Devices intended to transmit energy, substances or other elements between an active device and the patient, without any significant change, shall not be deemed to be active devices. Software shall also be deemed to be an active device.
Note on U1: #FLD-UDID-29# - Device Intended to administer and/or Remove medicinal product. Property defines if the Device is intended to administer or remove medicinal product.
Note on V1: #FLD-UDID-30# - Implantable. Property defines if the Basic UDI-DI corresponds to a device that is Implantable or not. Any device intended to be partially introduced into the human body by clinical intervention and intended to remain in place after the procedure for at least 30 days shall also be deemed to be an implantable device.
Note on W1: #FLD-UDID-31# - Measuring Function. Property defines if the Device has a Measuring Function or not.
Note on X1: #FLD-UDID-32# - Reusable Surgical Instruments. Property defines if the Device is a Reusable Surgical Instrument or not. Reusable surgical instrument means an instrument intended for surgical use in cutting, drilling, sawing, scratching, scraping, clamping, retracting, clipping or similar procedures, without a connection to an active device and which is intended by the Manufacturer to be reused after appropriate procedures such as cleaning, disinfection and sterilisation have been carried out.

## MDR-UDI
Material Number | Device Status | UDI-Additional-Descriptions | EMDN Codes | Production Identifier | Reference Number | Secondary Identifier - Code | Secondary Identifier - Issuing Entity | Sterile | Sterilization | UDI-Trade-Names | Website | UDI-Storage-Conditions | UDI-Packages | UDI-Critical-Warnings | UDI-Substatuses | Number Of Reuses | Legacy Device Link - Code | Legacy Device Link - Issuing Entity | UDI-Market-Infos | Device Marking | Device Marking - Code | Device Marking - Issuing Entity | Base Quantity | Product Designer - Type | Product Designer - Actor Code | UDI-Product-Designer-Org | Master-UDI-DI-Annex-XVI | MDR-UDI-Annex-XVI | Latex | Reprocessed | UDI-Substances | UDI-Clinical-Sizes
EVAC22L1S | ON_THE_MARKET |  | Y062409 | SERIALISATION_NUMBER | EVAC22L1S |  |  | false | FALSE |  |  | #STORAGE-HANDLING-0-1, #STORAGE-HANDLING-0-2 |  | #CRITICAL-WARNING-0-1, #CRITICAL-WARNING-0-2 |  | 0 |  |  | #MARKET-INFO-0-1,#MARKET-INFO-0-2,#MARKET-INFO-0-3,#MARKET-INFO-0-4 |  |  |  | 1 | [5 empty] | false | false
Note on B1: #FLD-UDID-130# - Device Status. Status of the Device (On the market, No longer placed on the market).
Note on C1: #FLD-UDID-175# - Additional product Description. Additional Product Description. Additional Product Description is required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselves).
Note on D1: #FLD-UDID-149# - Nomenclature code. The Device Nomenclature Code(s) associated with the UDI-DI. The corresponding EMDN Code(s) will be provided/returned in the field. Several EMDN codes can be provided for a Device.
Note on E1: #FLD-UDID-148# - Type of UDI-PI. Reference to the Types of UDI-PI (production Identifiers) applicable to the current Device (UDI-DI). Defines the way the production is controlled. Attribute is required for Regulation Devices and System or Procedure Packs and must not be provided for Legacy Devices.
Note on F1: #FLD-UDID-163# - Reference / Catalogue Number. Property stores the Reference or Catalogue Number of the Device.
Note on G1: #FLD-UDID-02# - Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.). The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity. The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the access key to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labeled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together.
Note on H1: #FLD-UDID-01# - Issuing Entity. Assigned Issuing Entities that will generate the DI Codes allocated for all DI inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs (issuing entity).
Note on I1: #FLD-UDID-169# - Device labeled sterile. Property defines if the UDI-DI is labeled as Sterile or not.
Note on J1: #FLD-UDID-170# - Need for sterilisation before use. Property defines if the UDI-DI needs to be sterilised before use or not.
Note on K1: #FLD-UDID-176# - Trade name. Device Trade Name assigned to the UDI-DI. Trade names can be provided if applicable for the device. Several Trade- Names can be provided for the Device in the same language or in different languages.
Note on L1: #FLD-UDID-174# - URL for additional information. Manufacturer website where additional information about the device (UDI-DI) are available.
Note on M1: #FLD-UDID-211# - Storage/handling conditions type. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case.
Note on N1: Element will contain the details of the Packages structure for the current Device(UDI-DI). Information about Package structure must not be provided for Legacy Devices.
Note on O1: #FLD-UDID-212# - Critical Warnings type. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. (Applicable only for Critical warnings or Contra-Indications).
Note on Q1: #FLD-UDID-157# - Maximum number of reuses. Property defines the Maximum Number of reuses applicable for the Device. Use -1 value when the maximum number of reuses is not defined (Maximum number of reuses are not applicable), 0 if the Device is considered Single-use device and a positive number when the Device has a limited number of reuses (provided number being the number of reuses applicable).
Note on R1: #FLD-UDID-02# - Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.). The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity. The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the access key to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labeled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together.
Note on S1: #FLD-UDID-01# - Issuing Entity. Assigned Issuing Entities that will generate the DI Codes allocated for all DI inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs (issuing entity).
Note on U1: Element contains the information regarding the Direct Marking DI or Unit of Use DI referencing the Device. Attribute can be provided for Regulation Devices (from the first registration or later in the update of the UDI) and must not be provided for Legacy Devices.
Note on V1: #FLD-UDID-02# - Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.). The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity. The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the access key to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labeled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together.
Note on W1: #FLD-UDID-01# - Issuing Entity. Assigned Issuing Entities that will generate the DI Codes allocated for all DI inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs (issuing entity).
Note on X1: #FLD-UDID-151# - Quantity of Device. The base quantity in which the Device is provided. Attribute is required for Regulation Devices and must not be provided for Legacy Devices.
Note on AB1: #FLD-UDID-147# - Intended purpose other than medical (Annex XVI). Field stores the values regarding the Intended purpose of the Device, other the medical, as they are described in the Annex XVI of MDR Regulation. Field can be provided for Regulation Devices (if applicable) and must not be provided for Legacy Devices. Not available for a Master UDI-DI
Note on AD1: #FLD-UDID-156# - Containing latex. Property defines if the Device contains latex into it`s composition.
Note on AE1: #FLD-UDID-164# - Reprocessed single use device. Property defines if the Device is a Reprocessed single use device or not.

## Basic-Cert-Links
Reference Number | Label | Version | Certificate Number | Certificate Revision Number | Notified Body Actor Code | Certificate Type | Expiry Date | Issue Date | Validity Start Date | Certificate Status | Decision Date | Applicability Start Date
Note on C1: Version represent the version of the linked object
Note on D1: #FLD-UDID-61# - Certificate Number. When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Number of the Product Certificate
Note on E1: #FLD-UDID-62# - Revision Number. When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Revision Number of the Product Certificate.
Note on F1: #FLD-UDID-63# - Notified Body. When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the reference to the Notified Body that issued the Product Certificate.
Note on G1: #FLD-UDID-60# - Certificate Type (Technical Documentation, Type Examination, etc). When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property defines the type of Product Certificate associate with the Device.
Note on H1: #FLD-UDID-64# - Expiry Date.When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Expiry Date of the Product Certificate (mandatory only for Directive certificates)

## Basic-Comments
Reference Number | Label | Date | Owner Actor Code | Language | Text
Note on F1: The value NA can be exported for empty values related to the mandate termination

## Basic-Clinical-Investigations
Reference Number | Label | Clinical Investigation Reference | Non EU Investigations
Note on C1: #FLD-UDID-51# - Clinical Investigation reference number. When registering the Device - where applicable, the single identification number of the clinical investigation or investigations conducted in relation to the device or a link to the clinical investigation must be provided. Field stores the Clinical Investigation Number provided by the user when the Clinical Investigation is not registered in EUDAMED.
Note on D1: #FLD-UDID-300# List of Countries were the Clinical Investigation has been performed. Field is optional and must be provided only for Clinical Investigations performed Outside EU (Non EU Countries only). Several countries codes can be provided in the field, separated by space. Ex: AD AE AM

## Basic-Device-Cert-Links
Reference Number | Label | Certificate Number | Expiry Date | Notified Body | Certificate Revision Number | Certificate Type
Note on C1: #FLD-UDID-61# - Certificate Number . Property stores the Certificate Number of the Certificate. Attribute is required for Legacy Devices.
Note on D1: #FLD-UDID-64# - Expiry Date. Property stores the Certificate Expiry Date of the Certificate. Attribute is required for Legacy Devices.
Note on E1: #FLD-UDID-63# - Notified Body actor code. Property stores the reference to the Notified Body who issued the Certificate.
Note on F1: #FLD-UDID-62# - Revision Number. Property stores the Certificate Revision Number of the Certificate.
Note on G1: #FLD-UDID-60# - Certificate Type (Technical Documentation, Type Examination, etc). Property defines the type of Product Certificate associate with the Device.

## UDI-Additional-Descriptions
Reference Number | Label | Language | Text
Note on D1: The value NA can be exported for empty values related to the mandate termination

## UDI-Trade-Names
Reference Number | Label | Language | Text
Note on D1: The value NA can be exported for empty values related to the mandate termination

## UDI-Storage-Conditions-Desc.
Reference Number | Label | Language | Text
#STORAGE-HANDLING-DESCRIPTION-0-1 | 0 | ANY | 25°C

## UDI-Storage-Conditions
Reference Number | Label | UDI-Storage-Conditions-Desc. | Type
#STORAGE-HANDLING-0-1 | 0 |  | SHC002
#STORAGE-HANDLING-0-2 | 1 | #STORAGE-HANDLING-DESCRIPTION-0-1 | SHC007
Note on C1: #FLD-UDID-213# - Storage/Handling conditions. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings.
Note on D1: #FLD-UDID-211# - Storage/handling conditions type. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case.

## UDI-Packages
Reference Number | Identifier - Code | Identifier - Issuing Entity | Status | Child - Code | Child - Issuing Entity | Number Of Items
Note on B1: #FLD-UDID-02# - Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.). The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity. The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the access key to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labeled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together.
Note on C1: #FLD-UDID-01# - Issuing Entity. Assigned Issuing Entities that will generate the DI Codes allocated for all DI inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs (issuing entity).
Note on D1: #FLD-UDID-130# - Device Status. Status of the Device (On the market, No longer placed on the market).
Note on E1: #FLD-UDID-02# - Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.). The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity. The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the access key to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labeled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together.
Note on F1: #FLD-UDID-01# - Issuing Entity. Assigned Issuing Entities that will generate the DI Codes allocated for all DI inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs (issuing entity).
Note on G1: #FLD-UDID-121# - Quantity per package. Number of Items in the Package Structure.

## UDI-Critical-Warnings-Desc.
Reference Number | Label | Language | Text

## UDI-Critical-Warnings
Reference Number | Label | UDI-Critical-Warnings-Desc. | Type
#CRITICAL-WARNING-0-1 | 0 |  | CW009
#CRITICAL-WARNING-0-2 | 1 |  | CW022
Note on C1: #FLD-UDID-319# - Critical warnings or contra-indications. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings.
Note on D1: #FLD-UDID-212# - Critical Warnings type. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. (Applicable only for Critical warnings or Contra-Indications).

## UDI-Substatuses
Reference Number | Label | Substatus | Corrective Actions | Estimated End Date | Start Date
Note on C1: #FLD-UDID-131# - SubStatus of the Device (Recalled, Field safety corrective action initiated).
Note on E1: #FLD-UDID-127# - Estimated end date when the Substatus is to be closed (Triggered by Vigilance module).
Note on F1: #FLD-UDID-126# - Start Date when the Substatus has been initialised.

## UDI-Market-Infos
Reference Number | Label | Country | End Date | Original Placed On The Market | Start Date
#MARKET-INFO-0-1 |  | BE |  | false
#MARKET-INFO-0-2 |  | DK |  | false
#MARKET-INFO-0-3 |  | DE |  | true
#MARKET-INFO-0-4 |  | EL |  | false
Note on C1: #FLD-UDID-137# - Member State of the placing on the EU market of the device. Defines the Country were the device has been placed on the Market (Member State in which the device is to or has been placed on the market in the Union). #FLD-UDID-252# - Member State were the device is or is to be made available. Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Country were the Device is made available on the market. To be used in combination with originalPlacedOnTheMarket.
Note on D1: #FLD-UDID-251# - End date. Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the End Date when the Device is made available on the marked.
Note on E1: #FLD-UDID-137# - Member State of the placing on the EU market of the device. Defines the Country were the device has been placed on the Market (Member State in which the device is to or has been placed on the market in the Union).
Note on F1: #FLD-UDID-250# - Start date. Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Start Date when the Device is made available on the market.

## UDI-Product-Designer-Org
Reference Number | Name | Street | Street Num | City | Post Code | Country | Email

## MDR-UDI-Annex-XVI
Reference Number | Non Medical Device Type

## UDI-Substances
Reference Number | Label | Type | UDI-Substance-Names | Type (CMR, Endocrine) - CAS Number | Type (CMR, Endocrine) - EC Number | Type (CMR) - Category | Type (Medicinal Product) - INN | Type (Medicinal Product) - Category
Note on D1: #FLD-UDID-201# - Name of Substance. Field stores the Name of Substance (applicable for all types of substances - CMR, Endocrine, Medicinal product, Medicinal product derived from human blood or human). In case INN information is provided (for substances being Medicinal product, Medicinal product derived from human blood or human), the field is no longer required - must not be provided. In case CASCode or ECCode are provided (for substances being CMR or Endocrine substances), Name of substance can be provided only once - having the Language ANY

## UDI-Substance-Names
Reference Number | Language | Text

## UDI-Clinical-Sizes
Reference Number | Label | Precision | Clinical Size Type | UDI-Clinical-Size-Descriptions | Precision (Text) - Text | Precision (Value) - Value | Precision (Range) - Maximum | Precision (Range) - Minimum | Precision (Value, Range) - Unit | UDI-Measure-Unit-Descriptions
Note on D1: #FLD-UDID-190# - Clinical Size. The Type of Clinical Size (example : length, width, etc.).

## UDI-Clinical-Size-Descriptions
Reference Number | Language | Text
Note on C1: The value NA can be exported for empty values related to the mandate termination

## UDI-Measure-Unit-Descriptions
Reference Number | Language | Text